Mass Spectrometry

Overview: See – “A Short Explanation for the Absolute Novice” (Joel site) and “What is Mass Spectrometry?” tutorial on the ASMS (American Society for Mass Spectrometry) web site.

What does a mass spectrometer do?

A mass spectrometer produces charged particles (ions) from the chemical substances that are to be analyzed. The mass spectrometer then uses electric and magnetic fields to measure the mass ("weight") of the charged particles.

Water (H2O) as an example:  A water molecule consists of two hydrogens (H) and one oxygen (O). The total mass of a water molecule is the sum of the mass of two hydrogens (approximately 1 atomic mass unit per hydrogen) and one oxygen (approximately 16 atomic mass units per oxygen):

Consider some (a very small amount) water vapor introduced into a vacuum chamber (the "ion source") of the mass spectrometer. If we shoot a beam of electrons through the water vapor, some of the electrons will hit water molecules and knock off an electron. If we lose a (negatively charged) electron from the (neutral) water molecule, the water will be left with a net positive charge. In other words, we have produced charged particles, or "ions" from the water:

H2O + 1 (fast) electron --> [H2O]+ + 2 electrons

Some of the collisions between the water molecules and the electrons will be so hard that the water molecules will be broken into smaller pieces, or "fragments ".  Many organic / biological molecules have characteristic fragment pattern formation.  For water, the only possible fragments will be [OH]+, O+, and H+.   The mass spectrum of water will show peaks that can be assigned to masses of 1, 16, 17, and 18, or:

How does a mass spectrometer work?

There are many different kinds of mass spectrometers, but all use magnetic and/or electric fields to exert forces on the charged particles produced from the chemicals to be analyzed. A basic mass spectrometer consists of three parts:

- A source in which ions are produced from the chemical substances to be analyzed.

- An analyzer in which ions are separated according to mass.

- A detector which produces a signal from the separated ions.

(Figure 1 from “What is Mass Spectrometry?” tutorial on ASMS web site.)

Source:  Forming Charged Particles (Ions):

- Electron impact (EI)

- Chemical Ionization (CI)

- Fast atom bombardment (FAB)

- Field desorption (FD)

- Electrospray ionization (ESI)

- Laser desorption (LD)

The choice of ionization method depends on the nature of the sample and the type of information required from the analysis. So-called 'soft ionization' methods such as field desorption and electrospray ionization tend to produce mass spectra with little or no fragment-ion content.

(Figure 3 from “What is Mass Spectrometry?” tutorial on ASMS web site.)  A schematic of an electron ionization source.

A magnetic field (in a "magnetic sector analyzer") separates ions according to their momentum (the product of their mass times their velocity).

(Figure 4 from “What is Mass Spectrometry?” tutorial on ASMS web site.)

Application to Biological Macromolecules (Macromolecular ions):

For many years people recognized the value of mass spectrometry but faced the difficulty of vaporizing a macromolecule in a vacuum without unacceptable degradation.  Four recent developments have made mass spectrometry a major tool for the analysis of a variety of biomacromolecules.

1) Time-of Flight (TOF) Mass Spectrometer:

Generate positive ions in a short source, accelerate all ions to same kinetic energy K = (Ze)Es , allow ions to emerge into a “field-free, drift” region of length D.  Since K also = ½(mv2), heavier ions will move more slowly than light ions as they “drift” to the detector.  If t is the time for an ion to traverse the drift region, the mass/charge ratio can be given by:

(m/Z) = 2(Ze)s(t/D)2  .

(Figure 8 from “What is Mass Spectrometry?” tutorial on ASMS web site.)  Note: this method is ideal for a “pulsed” source of ions (see below for MALDI-TOF)

2) Matrix-Assisted Laser Desorption-Ionization (MALDI):

Laser desorption methods use a pulsed laser to desorb species from a target surface.  A mass analyzer such as time-of-flight (TOF) is used that is compatible with pulsed ionization methods.

Direct laser desorption relies on the very rapid heating of the sample or sample substrate to vaporize molecules so quickly that they do not have time to decompose. This is good for low to medium-molecular weight compounds and surface analysis. The more recent development of matrix-assisted laser desorption ionization (MALDI) relies on the absorption of laser energy by a matrix compound. MALDI has become extremely popular as a method for the rapid determination of high-molecular-weight compounds.  Macromolecules are implanted into a solid chemical matrix, usually an aromatic compound like 2,5-dihydroxybenzoic acid that strongly absorbs UV light.  The analyte is dissolved in a solution containing an excess of a matrix such as sinapinic acid or dihydroxybenzoic acid that has a chromophore that absorbs at the laser wavelength.  A small amount of this solution is placed on the laser target. The matrix absorbs the energy from the laser pulse and produces a plasma that results in vaporization and ionization of the analyte macromolecule.

MALDI requires a mass analyzer that is compatible with pulsed ionization techniques (TOF). Accuracy to better than 0.1% can be achieved and the mass spectrum is usually very clean with the “molecular” ion plus relatively few multiples.  Protein molecules of mass greater than 150,000 Da have analyzed with accuracy using MALDI-TOF.

(Figure 12a  from “What is Mass Spectrometry?” tutorial on ASMS web site.)

3) Electrospray Ionization (ESI):

The advantage of this method is that it is nondestructive so it is well suited for macromolecules.  A tiny, charged microdroplets containing the macromolecule in solution are passed through a fine needle and sprayed into the mass spectrometer in an electric field – the solvent evaporates leaving the macroion in the vacuum for analysis.  This technique typically produces a wide range of ions and often other ions like K+ or other macromolecules tend to associate with the given macromolecule, so the mass spectrum is more complicated but can also provide a wealth of information.

(Figure 1 – from “Introduction to Electrospray Mass Spectrometry (ES-MS)”

by P. C. Andrews – Biomol. Newsletter  p. 27, Vol. 1, No. 2)

Because electrospray ionization methods normally puts many charges (z) on the macroion in the form of protons, the m/z ratio for this method is still rather modest with m/z ~ 2000-4000 range.  Even quadrupole mass spectrometers with limited mass ranges (~800 – 4000) can be used with this method.

(Figure 13 from “What is Mass Spectrometry?” tutorial on ASMS web site.)  A protein with a molecular mass of about 29,000 Da obtained with a quadrupole mass spectrometer with a m/z range of 2000.

4) Capillary Electrophoresis (CE) and ESI:

Capillary electrophoresis is similar to gel electrophoresis but without the gel.  Very small quartz capillaries (~50-100 m in diameter x 20-60 cm in length) are used.  The high electrical resistance of the small capillaries allows very high voltages to be applied without large current leading to rapid separation (minutes) with little convection mixing.

Another major advantage of this technique is the use of very small samples – mass sensitivity in the femtomole (10-15) and even zeptomole (10-21) ranges.   Coupling CE with electrospray ionization (ESI) mass spectrometry has proven practical for the analysis of tiny amounts of biomacromolecules.

***********************************************************************

Sequence Analysis Using Mass Spectrometry:  Since the masses of peptides and protein fragments can be measured with great accuracy, it is possible to determine amino acid content from mass or the sequence of a protein fragment if the whole sequence is known.

appendix -

Sample introduction/ionization method:

| Ionization method | Typical Analytes | Sample Introduction | Mass Range | Method Highlights |
| --- | --- | --- | --- | --- |
| Electron Impact (EI) | Relatively small volatile | GC or liquid/solid probe | to 1,000 Daltons | Hard method versatile provides structure info |
| Chemical Ionization (CI) | Relatively small volatile | GC or liquid/solid probe | to 1,000 Daltons | Soft method molecular ion peak [M+H]+ |
| Electrospray (ESI) | Peptides Proteins nonvolatile | Liquid Chromatography or syringe | to 200,000 Daltons | Soft method ions often multiply charged |
| Fast Atom Bombardment (FAB) | Carbohydrates Organometallics Peptides nonvolatile | Sample mixed in viscous matrix | to 6,000 Daltons | Soft method but harder than ESI or MALDI |
| Matrix Assisted Laser Desorption (MALDI) | Peptides Proteins Nucleotides | Sample mixed in solid matrix | to 500,000 Daltons | Soft method very high mass |

Mass Analyzers:

| Analyzer | System Highlights |
| --- | --- |
| Quadrupole | Unit mass resolution, fast scan, low cost |
| Sector (Magnetic and/or Electrostatic) | High resolution, exact mass |
| Time-of-Flight (TOF) | Theoretically, no limitation for m/z maximum, high throughput |
| Ion Cyclotron Resonance (ICR) | Very high resolution, exact mass, perform ion chemistry |

Linked Systems:

| GC/MS: | Gas chromatography coupled to mass spectrometry |
| --- | --- |
| LC/MS: | Liquid chromatography coupled to electrospray ionization mass spectrometry |
| MS/MS | Tandem mass spectrometry |

(Figure 17 from “What is Mass Spectrometry?” tutorial on ASMS web site.)