Review Summary – CH370 / 387D - Exam 2

Spectroscopy / Fluorescence

E = h = hc/  (relationship between energy, frequency and wavelength ()

Absorbance (A); Intensity (I, Io);  Transmittance (T = I / Io); A = log (Io / I) = log (1/T)

A = O.D. =  (c(l       also     [E1% (MW  =  10 ( M]

Fluorescence (~ 10-4 sec to 10-9 sec )   /   Phosphorescence  (> 10-3 sec )

R = Ro[(1-)/]1/6  or     FRET (Fluor. Res. Energy Transfer) Eff.  =  1/[1 + (R/Ro)6]

Chromatography

“Column” chromatography -  separate by absorptive property / collect fractions

- ion exchange chromatography (separate by charge / pH / pI)

- affinity chromatography (use ligand / His tag; IMAC)

- gel exclusion chromatography (zonal technique / size)

Gradient methods

Electrophoresis – transport of charged particle in an electric field.

Theory:  Ftot = qE – fv = ma = m(dv/dt) = 0;   v = (qE/f)

f =6R for spheres;   = Viscosity ~ 0.01g/(cm-sec)

Ferguson Plots:  electrophoretic mobility reflects both charge and size/shape

Methods:  slab / tube / seq. gels / (native; denatured) / Disc. Gel / PAGE / PFGE / IEF / CE

SDS-PAGE  (subunit MW)  / buffer system / stains;  IEF gels /  2D-PAGE

Radioactivity and Counting

Radioactive decay processes ( / + / - / E.C.); Radioactivity rays ( -rays)

Half life:  A = Ao exp(-kt) where k = ln2/half-life

Measurement of Radioactivity: Geiger Counter / Film  / PhosphorImagers / LSC

Liquid Scintillation Counting: Excited solvent / 1o “fluor” / 2o “fluor” / PM

Centrifugation

Theory:  Ftot = meff2r - fv = m2r(1 - ’) - fv = ma = m(dv/dt) = 0;   (’ is “v bar”)

Preparative Methods: RCF / Rotors / Density Gradient:  Zonal  vs.  Isopycnic Methods

Analytical Methods / Modern Analytical Ultracentrifuge

Optics: Schlieren (  = aK(dc/dx); Interference (J = (aKc)/	Abspt. optics ( A ~ c)

Sedimentation Velocity:  s = v/2r  = (m(1 - ’)/f);  (  plot (ln r) vs. t  (  slope = s2

Sed, Vel. plus Diffusion:  D = (kT/f) = (RT/ Nof) ;   (    s = MD(1 - ’)/RT

Sedimentation Equil.:  lncr – lncrm  =  [M2(1 - ’)/(2RT)](r2 – rm2)    (  plot  ln c  vs.  r2

Light Scattering:  “Static” vs. “Dynamic”

Rayleigh (Static) Scattering –  i/Io  = N[842 / r24](1 + cos2)    for unpolarized radiation.

Raleigh Ratio: R = (iIr2 / (1 + cos2)) =  [22 no2(dn/dC)2 / 4 No2] CM or R =KCM

KC/ R  = 1/(M*P())  +  2 A2C;  Mean Square Radius (Rg )  10 nm to 150 nm     	Dynamic Light Scattering –Hydrodynamic (Stokes) Radius (Rh ) 1.5 to 1000 nm

Experimental  (Use of LS and RI); LS = KLSCM(dn/dC)2:  RI  = KRIC(dn/dC)

or         LS/RI = M[(KLS/KRI)(dn/dC)]   or   M  =  K’(LS)/(RI)

Polydispersity ( Mw/Mn );  If normalized, LS = RI for monomer but LS = 2*RI for dimer

CD

Special type of spectroscopy -  meas. the difference in left and right handed absorbance A(l)- A(r).

The instrument: measurements in far UV  170-240 nm.

CD spectra can distinguish types of secondary structure (helix, sheet, r.coil  /  B-DNA, A-DNA) etc.

Applications: Folding / Secondary Structure / Denaturation / Thermal Stability